## Slide 1: Design, development and control of a robotic arm
Proyectos III – Ignacio Martínez Capella

## Slide 2: Index
Introduction
3D design
Electronic components
Results
Conclusions

## Slide 3: Introduction - Orthoses
What is an orthosis?
  A medical device used to modify the functional and structural characteristics of the neuromuscular and skeletal system of the patient.
Four types:
  Supportive
  Dynamic
  Corrective
  Protective
Increasing demand
3D printers

## Slide 4: Introduction – Our model
Based on a previous orthosis developed in the master’s degree
3D printed
Flexion/extension of the arm
New movements: pronation/supination of the forearm

## Slide 5: 3D design
FreeCAD
Witbox 3D printer, PLA filaments
Two main pieces:
  A: arm
  B: forearm

## Slide 6: 3D design
FreeCAD
Witbox 3D printer, PLA filaments
Two main pieces:
  A: arm
  B: forearm

## Slide 7: Electronic components
A: EMG audio Jack
B: Instrumentation amplifier
C: Arduino Micro
D: RG gain resistor
E: Servomotor

## Slide 8: Electronic components
Voluntary contraction: Intended contraction of a muscle group
Involuntary contraction: Passive contraction of a muscle group when another one is voluntarily contracted
  Forearm: 5 voluntary + 5 involuntary contractions
  Biceps: 5 voluntary + 5 involuntary contractions
Signal | Top 25 values mean
Voluntary forearm | 180.6
Involuntary forearm | 63.28
Voluntary biceps | 386.16
Involuntary biceps | 265

## Slide 9: Results

## Slide 10: Conclusions
Objective achieved
Future work